Cleaning Work Order

Issue a cleaning round area by area, score it on inspection, and record what was restocked and what chemicals were used at what dilution.

✦  Part A — The round

1. Work order details

| Work order number e.g. CWO-2026-0906 |  |
| --- | --- |
| Date |  |
| Shift Early / Day / Evening / Night |  |
| Building and floor |  |
| Round or zone reference |  |
| Service type Daily clean / Periodic / Deep clean / Reactive callout / Post-event |  |
| Supervisor |  |
| Scheduled start and finish |  |

2. Area task record

| Area | Floors | WCs | Dust | Glass | Waste | Touch pts | Cleaner | Min |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Level 2 open plan | ✓ | — | ✓ | ✓ | ✓ | ✓ | A. Kaur | 35 |
| Total minutes on the round |  |  |  |  |  |  |  |  |

✦  Tick, dash or leave blank per area. A blank cell means nobody has said whether it was done, which is different from a dash meaning it was not required.

3. Inspection scores

| Area | Score 1–5 | Fail points | Action required | Re-checked |
| --- | --- | --- | --- | --- |
| Level 2 restrooms | 3 | Mirrors streaked, one dispenser empty | Reclean, restock soap | Yes |

✦  Score honestly. A round that scores five everywhere every day is a round nobody is inspecting.

✦  Part B — Consumables and chemicals

4. Consumables restocked

| Item | Area | Qty issued | Unit | Unit cost | Line total |
| --- | --- | --- | --- | --- | --- |
| Hand towel, roll | Level 2 restrooms | 6 | roll | 1.85 | 11.10 |
| Consumables total |  |  |  |  |  |

✦  Restock quantities are the only honest basis for a consumables budget. Guessing at reorder points is how a building runs out of hand towel on a Friday.

5. Chemicals used

| Product | Dilution | Applied to | Qty used | Unit | PPE worn |
| --- | --- | --- | --- | --- | --- |
| Neutral floor cleaner | 1:200 | Level 2 hard floors | 2.5 | L | Gloves |

✦  Dilution belongs on the record. A product used neat because the dosing pump failed is a damaged floor and a COSHH problem, and nobody will remember it a week later.

✦  Part C — Issues, cost and sign-off

6. Issues found on the round

| Damage or breakage found |  |
| --- | --- |
| Spills or incidents dealt with |  |
| Areas not accessible and why |  |
| Maintenance work order raised Yes / No — reference |  |
| Waste streams — anything unusual |  |
| Equipment fault |  |

7. Labour

| Date | Cleaner | Hours | Rate | Line total |
| --- | --- | --- | --- | --- |
| 26/09/2026 | A. Kaur | 4.00 | 16.50 | 66.00 |
| Labour total |  |  |  |  |

8. Cost of this round

| Labour total |  |
| --- | --- |
| Consumables total |  |
| Equipment or specialist hire |  |
| Total cost of this round |  |
| Cleanable area (m² or ft²) |  |
| Cost per unit of area |  |

✦  Cost per unit of area is the number a contract is won or lost on, and almost nobody records the two inputs it needs.

9. Sign-off

| Round complete Yes / No — what was left |  |
| --- | --- |
| Cleaner name and signature |  |
| Supervisor name and signature |  |
| Client representative name and signature |  |
| Time started |  |
| Time finished |  |
| Date |  |

10. Notes