Preventive Maintenance Work Order

Run a scheduled PM against its task list, record as-found and as-left against specification, and turn every deficiency into a corrective work order before you close it.

✦  Part A — The schedule

1. Work order details

| Work order number e.g. PM-2026-0904 |  |
| --- | --- |
| PM schedule reference |  |
| Date due |  |
| Date performed |  |
| Days early or late |  |
| Trigger Calendar / Running hours / Cycles / Condition / Regulatory |  |
| Frequency Weekly / Monthly / Quarterly / Six-monthly / Annual / Other |  |
| Planned duration |  |
| Assigned to |  |

2. Asset

| Asset ID and description |  |
| --- | --- |
| Location |  |
| Make and model |  |
| Serial number |  |
| Criticality A — critical / B — important / C — routine |  |
| Meter reading at this PM |  |
| Meter reading at last PM |  |
| Isolation or permit required Yes / No — reference |  |

✦  Part B — The task list

3. PM task list

| Task | Done | As found | As left | Initial |
| --- | --- | --- | --- | --- |
| Visual inspection for damage, leaks and corrosion | ☐ |  |  |  |
| Clean unit and surrounding area | ☐ |  |  |  |
| Check and record operating readings | ☐ |  |  |  |
| Lubricate per schedule | ☐ |  |  |  |
| Check belt tension and condition | ☐ |  |  |  |
| Check and tighten electrical connections | ☐ |  |  |  |
| Check and tighten mechanical fixings | ☐ |  |  |  |
| Inspect and replace filters | ☐ |  |  |  |
| Check alignment and vibration | ☐ |  |  |  |
| Test safety devices and interlocks | ☐ |  |  |  |
| Check control settings against specification | ☐ |  |  |  |
| Check drainage and condensate paths | ☐ |  |  |  |
| Confirm labelling and signage legible | ☐ |  |  |  |
| Function test through full operating range | ☐ |  |  |  |

✦  As found and as left in the same row. A PM that only records the final state cannot tell you whether the interval is right.

4. Readings against specification

| Measurement | Unit | Specification | As found | As left | Pass |
| --- | --- | --- | --- | --- | --- |
| Bearing temperature | °C | < 70 | 78 | 62 | Y |

✦  An out-of-tolerance reading that was corrected is still an out-of-tolerance reading. Record both numbers so the trend survives.

5. Consumables replaced

| Item | Part number | Qty | Unit cost | Line total | Next due |
| --- | --- | --- | --- | --- | --- |
| Panel filter 594×594×48 | FLT-2424-2 | 4 | 9.20 | 36.80 | Q1 2027 |
| Consumables total |  |  |  |  |  |

✦  Part C — Deficiencies and closure

6. Deficiencies found

| # | Deficiency | Severity | Can it wait | Corrective WO raised | Target date |
| --- | --- | --- | --- | --- | --- |
| 1 | Coupling guard cracked | Safety | No | CWO-2026-1191 | 01/10/2026 |

✦  A deficiency without a corrective work order number is a deficiency nobody will fix. This column is the whole reason the PM was worth doing.

7. Labour

| Date | Technician | Trade | Hours | Rate | Line total |
| --- | --- | --- | --- | --- | --- |
| 01/10/2026 | J. Farrow | Mechanical | 1.75 | 58.00 | 101.50 |
| Labour total |  |  |  |  |  |

8. PM cost and interval review

| Consumables total |  |
| --- | --- |
| Labour total |  |
| Total cost of this PM |  |
| Planned hours |  |
| Actual hours |  |
| Hours over or under plan |  |
| Deficiencies found at this PM |  |
| Interval recommendation keep, shorten, or lengthen — and why |  |

✦  Zero deficiencies several visits running usually means the interval is too short, not that the asset is perfect. Say so here rather than leaving the schedule untouched by default.

9. Closure

| PM completed in full Yes / No — tasks not done and why |  |
| --- | --- |
| Asset returned to service Yes / No — date and time |  |
| Isolation removed and tested Yes / No |  |
| Records and asset history updated Yes / No |  |
| Next PM due — date or meter |  |
| Technician name and signature |  |
| Verified by and date |  |

10. Notes